## LineCode
Id_LineCode | nphases | r1 | x1 | r0 | x0 | C1 | C0 | units | rmatrix | xmatrix | cmatrix | baseFreq | normamps | emergamps | faultrate | pctperm | repair | Kron | Rg | Xg | rho | neutral | B1 | B0 | Seasons | Ratings | LineType | like
1 | 3 | [7 empty] | [0.086666667 ¦0.029545455 0.088371212 ¦0.02907197 0.029924242 0.087405303] | [0.204166667 ¦0.095018939 0.198522727 ¦0.072897727 0.080227273 0.201723485] | [2.851710072 ¦-0.920293787 3.004631862 ¦-0.350755566 -0.585011253 2.71134756] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
2 | 3 | [7 empty] | [0.088371212 ¦0.02992424 0.087405303 ¦0.029545455 0.02907197 0.086666667] | [0.198522727 ¦0.080227273 0.201723485 ¦0.095018939 0.072897727 0.204166667] | [3.004631862 ¦-0.585011253 2.71134756 ¦-0.920293787 -0.350755566 2.851710072] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
3 | 3 | [7 empty] | [0.087405303 ¦0.02907197 0.086666667 ¦0.029924242 0.029545455 0.088371212] | [0.201723485 ¦0.072897727 0.204166667 ¦0.080227273 0.095018939 0.198522727] | [2.71134756 ¦-0.350755566 2.851710072 ¦-0.585011253 -0.920293787 3.004631862] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
4 | 3 | [7 empty] | [0.087405303 ¦0.029924242 0.088371212 ¦0.02907197 0.029545455 0.086666667] | [0.201723485 ¦0.080227273 0.198522727 ¦0.072897727 0.095018939 0.204166667] | [2.71134756 ¦0.585011253 3.004631862 ¦-0.350755566 -0.920293787 2.851710072] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
5 | 3 | [7 empty] | [0.088371212 ¦0.029545455 0.086666667 ¦0.029924242 0.02907197 0.087405303] | [0.198522727 ¦0.095018939 0.204166667 ¦0.080227273 0.072897727 0.201723485] | [3.004631862 ¦-0.920293787 2.851710072 ¦-0.585011253 -0.350755566 2.71134756] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
6 | 3 | [7 empty] | [0.086666667 ¦0.02907197 0.087405303 ¦0.029545455 0.029924242 0.088371212] | [0.204166667 ¦0.072897727 0.201723485 ¦0.095018939 0.080227273 0.198522727] | [2.851710072 ¦-0.350755566 2.71134756 ¦-0.920293787 -0.585011253 3.004631862] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
7 | 2 | [7 empty] | [0.086666667 ¦0.02907197 0.087405303] | [0.204166667 ¦0.072897727 0.201723485] | [2.569829596 ¦-0.52995137 2.597460011] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
8 | 2 | [7 empty] | [0.086666667 ¦0.02907197 0.087405303] | [0.204166667 ¦0.072897727 0.201723485] | [2.569829596 ¦-0.52995137 2.597460011] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
9 | 1 | [7 empty] | [0.251742424] | [0.255208333] | [2.270366128] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
10 | 1 | [7 empty] | [0.251742424] | [0.255208333] | [2.270366128] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
11 | 1 | [7 empty] | [0.251742424] | [0.255208333] | [2.270366128] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
12 | 3 | [7 empty] | [0.288049242 ¦0.09844697 0.29032197 ¦0.093257576 0.09844697 0.288049242] | [0.142443182 ¦0.052556818 0.135643939 ¦0.040852273 0.052556818 0.142443182] | [33.77150149 ¦0 33.77150149 ¦0 0 33.77150149] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
300 | 3 | [7 empty] | [0.253181818 ¦0.039791667 0.250719697 ¦0.040340909 0.039128788 0.251780303] | [0.252708333 ¦0.109450758 0.256988636 ¦0.094981061 0.086950758 0.255132576] | [2.680150309 ¦-0.769281006 2.5610381 ¦-0.499507676 -0.312072984 2.455590387] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
301 | 3 | [7 empty] | [0.365530303 ¦0.04407197 0.36282197 ¦0.04467803 0.043333333 0.363996212] | [0.267329545 ¦0.122007576 0.270473485 ¦0.107784091 0.099204545 0.269109848] | [2.572492163 ¦-0.72160598 2.464381882 ¦-0.472329395 -0.298961096 2.368881119] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
302 | 1 | [7 empty] | [0.530208] | [0.281345] | [2.12257] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
303 | 1 | [7 empty] | [0.530208] | [0.281345] | [2.12257] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
304 | 1 | [7 empty] | [0.363958] | [0.269167] | [2.1922] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
400 | 3 | [7 empty] | [0.088205 ¦0.0312137 0.0901946 ¦0.0306264 0.0316143 0.0889665] | [0.20744 ¦0.0935314 0.200783 ¦0.0760312 0.0855879 0.204877] | [2.90301 ¦-0.679335 3.15896 ¦-0.22313 -0.481416 2.8965] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
601 | 3 | [7 empty] | [0.065625 ¦0.029545455 0.063920455 ¦0.029924242 0.02907197 0.064659091] | [0.192784091 ¦0.095018939 0.19844697 ¦0.080227273 0.072897727 0.195984848] | [3.164838036 ¦-1.002632425 2.993981593 ¦-0.632736516 -0.372608713 2.832670203] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
602 | 3 | [7 empty] | [0.142537879 ¦0.029924242 0.14157197 ¦0.029545455 0.02907197 0.140833333] | [0.22375 ¦0.080227273 0.226950758 ¦0.095018939 0.072897727 0.229393939] | [2.863013423 ¦-0.543414918 2.602031589 ¦-0.8492585 -0.330962141 2.725162768] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
603 | 2 | [7 empty] | [0.251780303 ¦0.039128788 0.250719697] | [0.255132576 ¦0.086950758 0.256988636] | [2.366017603 ¦-0.452083836 2.343963508] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
604 | 2 | [7 empty] | [0.250719697 ¦0.039128788 0.251780303] | [0.256988636 ¦0.086950758 0.255132576] | [2.343963508 ¦-0.452083836 2.366017603] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
605 | 1 | [7 empty] | [0.251742424] | [0.255208333] | [2.270366128] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
606 | 3 | [7 empty] | [0.151174242 ¦0.060454545 0.149450758 ¦0.053958333 0.060454545 0.151174242] | [0.084526515 ¦0.006212121 0.076534091 ¦-0.002708333 0.006212121 0.084526515] | [48.67459408 ¦0 48.67459408 ¦0 0 48.67459408] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
607 | 1 | [7 empty] | [0.254261364] | [0.097045455] | [44.70661522] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
721 | 3 | [7 empty] | [0.055416667 ¦0.012746212 0.050113636 ¦0.006382576 0.012746212 0.055416667] | [0.037367424 ¦-0.006969697 0.035984848 ¦-0.007897727 -0.006969697 0.037367424] | [80.27484728 ¦0 80.27484728 ¦0 0 80.27484728] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
722 | 3 | [7 empty] | [0.089981061 ¦0.030852273 0.085 ¦0.023371212 0.030852273 0.089981061] | [0.056306818 ¦-0.006174242 0.050719697 ¦-0.011496212 -0.006174242 0.056306818] | [64.2184109 ¦0 64.2184109 ¦0 0 64.2184109] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
723 | 3 | [7 empty] | [0.245 ¦0.092253788 0.246628788 ¦0.086837121 0.092253788 0.245] | [0.127140152 ¦0.039981061 0.119810606 ¦0.028806818 0.039981061 0.127140152] | [37.5977112 ¦0 37.5977112 ¦0 0 37.5977112] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]
724 | 3 | [7 empty] | [0.396818182 ¦0.098560606 0.399015152 ¦0.093295455 0.098560606 0.396818182] | [0.146931818 ¦0.051856061 0.140113636 ¦0.040208333 0.051856061 0.146931818] | [30.26701029 ¦0 30.26701029 ¦0 0 30.26701029] | 60 | 400 | 600 | 0.1 | 20 | [8 empty] | 1 | [400.0]

## Voltagebases
Id_Voltagebases
[4.16, 0.48]

## LoadShape
Id_LoadShape | npts | interval | mult | hour | mean | stddev | csvfile | sngfile | dblfile | action | qmult | UseActual | Pmax | Qmax | sinterval | minterval | Pbase | Qbase | Pmult | PQCSVFile | MemoryMapping | like
default | 24 | 1 | [0.677 0.6256 0.6087 0.5833 0.58028 0.6025 0.657 0.7477 0.832 0.88 0.94 0.989 0.985 0.98 0.9898 0.999 1 0.958 0.936 0.913 0.876 0.876 0.828 0.756] |  | 0.82583 | 0.15309

## GrowthShape
Id_GrowthShape | npts | year | mult | csvfile | sngfile | dblfile | like
default | 2 | [1 20] | [1.025 1.025]

## TCC_Curve
Id_TCC_Curve | npts | C_array | T_array | like
a | 5 | [1 2.5 4.5 8 14] | [0.15 0.07 0.05 0.045 0.045]
d | 5 | [1 2.5 4.5 8 14] | [6 0.7 0.2 0.06 0.02]
tlink | 7 | [2 2.1 3 4 6 22 50] | [300 100 10.1 4 1.4 0.1 0.02]
klink | 6 | [2 2.2 3 4 6 30] | [300 20 4 1.3 0.41 0.02]
uv1547 | 2 | [0.5 0.9] | [0.166 2]
ov1547 | 2 | [1.1 1.2] | [2 0.166]
mod_inv | 15 | [1.1 1.3 1.5 2 3 4 5 6 7 8 9 10 20 50 100] | [27.1053 9.9029 6.439 3.8032 2.4322 1.9458 1.6883 1.5255 1.4117 1.3267 1.2604 1.2068 0.9481 0.7468 0.6478]
very_inv | 15 | [1.1 1.3 1.5 2 3 4 5 6 7 8 9 10 20 50 100] | [93.872 28.9113 16.179 7.0277 2.9423 1.7983 1.3081 1.0513 0.8995 0.8023 0.7361 0.6891 0.5401 0.4988 0.493]
ext_inv | 15 | [1.1 1.3 1.5 2 3 4 5 6 7 8 9 10 20 50 100] | [134.407 40.9913 22.6817 9.5217 3.6467 2.0017 1.2967 0.9274 0.7092 0.5693 0.4742 0.4065 0.1924 0.133 0.1245]
definite | 3 | [1 1.001 100] | [300 1 1]

## Spectrum
Id_Spectrum | NumHarm | harmonic | %mag | angle | CSVFile | like
default | 7 | [1 3 5 7 9 11 13] | [100 33 20 14 11 9 7] | [0 0 0 0 0 0 0]
defaultload | 7 | [1 3 5 7 9 11 13] | [100 1.5 20 14 1 9 7] | [0 180 180 180 180 180 180]
defaultgen | 7 | [1 3 5 7 9 11 13] | [100 5 3 1.5 1 0.7 0.5] | [0 0 0 0 0 0 0]
defaultvsource | 1 | [1.0] | [100.0]
linear | 1 | [1.0] | [100.0]
pwm6 | 13 | [1 3 5 7 9 11 13 15 17 19 21 23 25] | [100 4.4 76.5 62.7 2.9 24.8 12.7 0.5 7.1 8.4 0.9 4.4 3.3] | [-103 -5 28 -180 -33 -59 79 36 -253 -124 3 -30 86]
dc6 | 10 | [1 3 5 7 9 11 13 15 17 19] | [100 1.2 33.6 1.6 0.4 8.7 1.2 0.3 4.5 1.3] | [-75 28 156 29 -91 49 54 148 -57 -46]

## Line
Id_Line | bus1 | bus2 | linecode | length | phases | r1 | x1 | r0 | x0 | C1 | C0 | rmatrix | xmatrix | cmatrix | Switch | Rg | Xg | rho | geometry | units | spacing | wires | EarthModel | cncables | tscables | B1 | B0 | Seasons | Ratings | LineType | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like
l115 | 149.1.2.3.0 | 1.1.2.3.0 | 1 | 0.4 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l1 | 1.2 | 2.2 | 10 | 0.175 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l2 | 1.3 | 3.3 | 11 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l3 | 1.1.2.3 | 7.1.2.3 | 1 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l4 | 3.3 | 4.3 | 11 | 0.2 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l5 | 3.3 | 5.3 | 11 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l6 | 5.3 | 6.3 | 11 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l7 | 7.1.2.3 | 8.1.2.3 | 1 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l8 | 8.2 | 12.2 | 10 | 0.225 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l9 | 8.1 | 9.1 | 9 | 0.225 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l10 | 8.1.2.3 | 13.1.2.3 | 1 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l11 | 9r.1 | 14.1 | 9 | 0.425 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l12 | 13.3 | 34.3 | 11 | 0.15 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l13 | 13.1.2.3 | 18.1.2.3 | 2 | 0.825 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l14 | 14.1 | 11.1 | 9 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l15 | 14.1 | 10.1 | 9 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l16 | 15.3 | 16.3 | 11 | 0.375 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l17 | 15.3 | 17.3 | 11 | 0.35 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l18 | 18.1 | 19.1 | 9 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l19 | 18.1.2.3 | 21.1.2.3 | 2 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l20 | 19.1 | 20.1 | 9 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l21 | 21.2 | 22.2 | 10 | 0.525 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l22 | 21.1.2.3 | 23.1.2.3 | 2 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l23 | 23.3 | 24.3 | 11 | 0.55 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l24 | 23.1.2.3 | 25.1.2.3 | 2 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l25 | 25r.1.3 | 26.1.3 | 7 | 0.35 | 2 | [22 empty] | 1 | [400.0] |  | 400 | 600
l26 | 25.1.2.3 | 28.1.2.3 | 2 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l27 | 26.1.3 | 27.1.3 | 7 | 0.275 | 2 | [22 empty] | 1 | [400.0] |  | 400 | 600
l28 | 26.3 | 31.3 | 11 | 0.225 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l29 | 27.1 | 33.1 | 9 | 0.5 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l30 | 28.1.2.3 | 29.1.2.3 | 2 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l31 | 29.1.2.3 | 30.1.2.3 | 2 | 0.35 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l32 | 30.1.2.3 | 250.1.2.3 | 2 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l33 | 31.3 | 32.3 | 11 | 0.3 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l34 | 34.3 | 15.3 | 11 | 0.1 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l35 | 35.1.2 | 36.1.2 | 8 | 0.65 | 2 | [22 empty] | 1 | [400.0] |  | 400 | 600
l36 | 35.1.2.3 | 40.1.2.3 | 1 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l37 | 36.1 | 37.1 | 9 | 0.3 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l38 | 36.2 | 38.2 | 10 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l39 | 38.2 | 39.2 | 10 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l40 | 40.3 | 41.3 | 11 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l41 | 40.1.2.3 | 42.1.2.3 | 1 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l42 | 42.2 | 43.2 | 10 | 0.5 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l43 | 42.1.2.3 | 44.1.2.3 | 1 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l44 | 44.1 | 45.1 | 9 | 0.2 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l45 | 44.1.2.3 | 47.1.2.3 | 1 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l46 | 45.1 | 46.1 | 9 | 0.3 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l47 | 47.1.2.3 | 48.1.2.3 | 4 | 0.15 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l48 | 47.1.2.3 | 49.1.2.3 | 4 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l49 | 49.1.2.3 | 50.1.2.3 | 4 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l50 | 50.1.2.3 | 51.1.2.3 | 4 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l51 | 51.1.2.3 | 151.1.2.3 | 4 | 0.5 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l52 | 52.1.2.3 | 53.1.2.3 | 1 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l53 | 53.1.2.3 | 54.1.2.3 | 1 | 0.125 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l54 | 54.1.2.3 | 55.1.2.3 | 1 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l55 | 54.1.2.3 | 57.1.2.3 | 3 | 0.35 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l56 | 55.1.2.3 | 56.1.2.3 | 1 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l57 | 57.2 | 58.2 | 10 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l58 | 57.1.2.3 | 60.1.2.3 | 3 | 0.75 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l59 | 58.2 | 59.2 | 10 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l60 | 60.1.2.3 | 61.1.2.3 | 5 | 0.55 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l61 | 60.1.2.3 | 62.1.2.3 | 12 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l62 | 62.1.2.3 | 63.1.2.3 | 12 | 0.175 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l63 | 63.1.2.3 | 64.1.2.3 | 12 | 0.35 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l64 | 64.1.2.3 | 65.1.2.3 | 12 | 0.425 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l65 | 65.1.2.3 | 66.1.2.3 | 12 | 0.325 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l66 | 67.1 | 68.1 | 9 | 0.2 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l67 | 67.1.2.3 | 72.1.2.3 | 3 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l68 | 67.1.2.3 | 97.1.2.3 | 3 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l69 | 68.1 | 69.1 | 9 | 0.275 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l70 | 69.1 | 70.1 | 9 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l71 | 70.1 | 71.1 | 9 | 0.275 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l72 | 72.3 | 73.3 | 11 | 0.275 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l73 | 72.1.2.3 | 76.1.2.3 | 3 | 0.2 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l74 | 73.3 | 74.3 | 11 | 0.35 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l75 | 74.3 | 75.3 | 11 | 0.4 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l76 | 76.1.2.3 | 77.1.2.3 | 6 | 0.4 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l77 | 76.1.2.3 | 86.1.2.3 | 3 | 0.7 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l78 | 77.1.2.3 | 78.1.2.3 | 6 | 0.1 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l79 | 78.1.2.3 | 79.1.2.3 | 6 | 0.225 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l80 | 78.1.2.3 | 80.1.2.3 | 6 | 0.475 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l81 | 80.1.2.3 | 81.1.2.3 | 6 | 0.175 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l82 | 81.1.2.3 | 82.1.2.3 | 6 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l83 | 81.3 | 84.3 | 11 | 0.675 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l84 | 82.1.2.3 | 83.1.2.3 | 6 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l85 | 84.3 | 85.3 | 11 | 0.475 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l86 | 86.1.2.3 | 87.1.2.3 | 6 | 0.45 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l87 | 87.1 | 88.1 | 9 | 0.175 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l88 | 87.1.2.3 | 89.1.2.3 | 6 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l89 | 89.2 | 90.2 | 10 | 0.25 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l90 | 89.1.2.3 | 91.1.2.3 | 6 | 0.225 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l91 | 91.3 | 92.3 | 11 | 0.3 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l92 | 91.1.2.3 | 93.1.2.3 | 6 | 0.225 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l93 | 93.1 | 94.1 | 9 | 0.275 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l94 | 93.1.2.3 | 95.1.2.3 | 6 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l95 | 95.2 | 96.2 | 10 | 0.2 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l96 | 97.1.2.3 | 98.1.2.3 | 3 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l97 | 98.1.2.3 | 99.1.2.3 | 3 | 0.55 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l98 | 99.1.2.3 | 100.1.2.3 | 3 | 0.3 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l99 | 100.1.2.3 | 450.1.2.3 | 3 | 0.8 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l118 | 197.1.2.3 | 101.1.2.3 | 3 | 0.25 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l100 | 101.3 | 102.3 | 11 | 0.225 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l101 | 101.1.2.3 | 105.1.2.3 | 3 | 0.275 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l102 | 102.3 | 103.3 | 11 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l103 | 103.3 | 104.3 | 11 | 0.7 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l104 | 105.2 | 106.2 | 10 | 0.225 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l105 | 105.1.2.3 | 108.1.2.3 | 3 | 0.325 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l106 | 106.2 | 107.2 | 10 | 0.575 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l107 | 108.1 | 109.1 | 9 | 0.45 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l108 | 108.1.2.3 | 300.1.2.3 | 3 |  | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l109 | 109.1 | 110.1 | 9 | 0.3 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l110 | 110.1 | 111.1 | 9 | 0.575 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l111 | 110.1 | 112.1 | 9 | 0.125 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l112 | 112.1 | 113.1 | 9 | 0.525 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l113 | 113.1 | 114.1 | 9 | 0.325 | 1 | [22 empty] | 1 | [400.0] |  | 400 | 600
l114 | 135.1.2.3 | 35.1.2.3 | 4 | 0.375 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l116 | 152.1.2.3 | 52.1.2.3 | 1 | 0.4 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
l117 | 160r.1.2.3 | 67.1.2.3 | 6 | 0.35 | 3 | [22 empty] | 1 | [400.0] |  | 400 | 600
sw1 | 150r | 149.1.2.3.0 |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw2 | 13.1.2.3.0 | 152.1.2.3.0 |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw3 | 18.1.2.3.0 | 135.1.2.3.0 |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw4 | 60.1.2.3.0 | 160.1.2.3.0 |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw5 | 97.1.2.3.0 | 197.1.2.3.0 |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw6 | 61.1.2.3.0 | 61s |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw7 | 151.1.2.3.0 | 300_open |  | 0.001 | 3 | 0.001 |  | 0.001 |  |  |  | [0.001 ¦0 0.001 ¦0 0 0.001] | [0 ¦0 0 ¦0 0 0] | [0 ¦0 0 ¦0 0 0] | [13 empty] | 1 | [400.0] |  | 400 | 600
sw8 | 54.1 | 94_open.1 |  | 0.001 | 1 | 0.001 |  | 0.001 |  |  |  | [0.001] | [15 empty] | 1 | [400.0] |  | 400 | 600

## Vsource
Id_Vsource | bus1 | basekv | pu | angle | frequency | phases | MVAsc3 | MVAsc1 | x1r1 | x0r0 | Isc3 | Isc1 | R1 | X1 | R0 | X0 | ScanType | Sequence | bus2 | Z1 | Z0 | Z2 | puZ1 | puZ0 | puZ2 | baseMVA | Yearly | Daily | Duty | Model | puZideal | spectrum | basefreq | enabled | like
source | 150 | 4.16 | 1 |  |  | 3 | 173056 | 173056

## Load
Id_Load | phases | bus1 | kV | kW | kvar | kVA | pf | model | yearly | daily | duty | growth | conn | Rneut | Xneut | status | class | Vminpu | Vmaxpu | Vminnorm | Vminemerg | xfkVA | allocationfactor | %mean | %stddev | CVRwatts | CVRvars | kwh | kwhdays | Cfactor | CVRcurve | NumCust | ZIPV | %SeriesRL | RelWeight | Vlowpu | puXharm | XRharm | spectrum | basefreq | enabled | like
s1a | 1 | 1.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s2b | 1 | 2.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s4c | 1 | 4.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s5c | 1 | 5.3 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s6c | 1 | 6.3 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s7a | 1 | 7.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s9a | 1 | 9.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s10a | 1 | 10.1 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s11a | 1 | 11.1 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s12b | 1 | 12.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s16c | 1 | 16.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s17c | 1 | 17.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s19a | 1 | 19.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s20a | 1 | 20.1 | 2.4 | 40 | 20 |  |  | 5 |  |  |  |  | wye
s22b | 1 | 22.2 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s24c | 1 | 24.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s28a | 1 | 28.1 | 2.4 | 40 | 20 |  |  | 5 |  |  |  |  | wye
s29a | 1 | 29.1 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s30c | 1 | 30.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s31c | 1 | 31.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s32c | 1 | 32.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s33a | 1 | 33.1 | 2.4 | 40 | 20 |  |  | 5 |  |  |  |  | wye
s34c | 1 | 34.3 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s35a | 1 | 35.1.2 | 4.16 | 40 | 20 |  |  | 1 |  |  |  |  | delta
s37a | 1 | 37.1 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s38b | 1 | 38.2 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s39b | 1 | 39.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s41c | 1 | 41.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s42a | 1 | 42.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s43b | 1 | 43.2 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s45a | 1 | 45.1 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s46a | 1 | 46.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s47 | 3 | 47.1.2.3.0 | 4.16 | 105 | 75 |  |  | 5 |  |  |  |  | wye
s48 | 3 | 48.1.2.3.0 | 4.16 | 210 | 150 |  |  | 2 |  |  |  |  | wye
s49a | 1 | 49.1 | 2.4 | 35 | 25 |  |  | 1 |  |  |  |  | wye
s49b | 1 | 49.2 | 2.4 | 70 | 50 |  |  | 1 |  |  |  |  | wye
s49c | 1 | 49.3 | 2.4 | 35 | 20 |  |  | 1 |  |  |  |  | wye
s50c | 1 | 50.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s51a | 1 | 51.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s52a | 1 | 52.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s53a | 1 | 53.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s55a | 1 | 55.1 | 2.4 | 20 | 10 |  |  | 2 |  |  |  |  | wye
s56b | 1 | 56.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s58b | 1 | 58.2 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s59b | 1 | 59.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s60a | 1 | 60.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s62c | 1 | 62.3 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s63a | 1 | 63.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s64b | 1 | 64.2 | 2.4 | 75 | 35 |  |  | 5 |  |  |  |  | wye
s65a | 1 | 65.1.2 | 4.16 | 35 | 25 |  |  | 2 |  |  |  |  | delta
s65b | 1 | 65.2.3 | 4.16 | 35 | 25 |  |  | 2 |  |  |  |  | delta
s65c | 1 | 65.3.1 | 4.16 | 70 | 50 |  |  | 2 |  |  |  |  | delta
s66c | 1 | 66.3 | 2.4 | 75 | 35 |  |  | 1 |  |  |  |  | wye
s68a | 1 | 68.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s69a | 1 | 69.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s70a | 1 | 70.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s71a | 1 | 71.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s73c | 1 | 73.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s74c | 1 | 74.3 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s75c | 1 | 75.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s76a | 1 | 76.1.2 | 4.16 | 105 | 80 |  |  | 5 |  |  |  |  | delta
s76b | 1 | 76.2.3 | 4.16 | 70 | 50 |  |  | 5 |  |  |  |  | delta
s76c | 1 | 76.3.1 | 4.16 | 70 | 50 |  |  | 5 |  |  |  |  | delta
s77b | 1 | 77.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s79a | 1 | 79.1 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s80b | 1 | 80.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s82a | 1 | 82.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s83c | 1 | 83.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s84c | 1 | 84.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s85c | 1 | 85.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s86b | 1 | 86.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s87b | 1 | 87.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s88a | 1 | 88.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s90b | 1 | 90.2 | 2.4 | 40 | 20 |  |  | 5 |  |  |  |  | wye
s92c | 1 | 92.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s94a | 1 | 94.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s95b | 1 | 95.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s96b | 1 | 96.2 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s98a | 1 | 98.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s99b | 1 | 99.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s100c | 1 | 100.3 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s102c | 1 | 102.3 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s103c | 1 | 103.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s104c | 1 | 104.3 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s106b | 1 | 106.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s107b | 1 | 107.2 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s109a | 1 | 109.1 | 2.4 | 40 | 20 |  |  | 1 |  |  |  |  | wye
s111a | 1 | 111.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye
s112a | 1 | 112.1 | 2.4 | 20 | 10 |  |  | 5 |  |  |  |  | wye
s113a | 1 | 113.1 | 2.4 | 40 | 20 |  |  | 2 |  |  |  |  | wye
s114a | 1 | 114.1 | 2.4 | 20 | 10 |  |  | 1 |  |  |  |  | wye

## Transformer
Id_Transformer | phases | windings | XfmrCode | buses | conns | kVs | kVAs | taps | %Rs | MaxTap | MinTap | NumTaps | normamps | emergamps | normhkVA | emerghkVA | wdg | bus | conn | kV | kVA | tap | %R | Rneut | Xneut | RdcOhms | XHL | XHT | XLT | X12 | X13 | X23 | %loadloss | %noloadloss | Xscarray | thermal | n | m | flrise | hsrise | sub | subname | %imag | ppm_antifloat | bank | XRConst | LeadLag | WdgCurrents | Core | Seasons | Ratings | faultrate | pctperm | repair | basefreq | enabled | like
reg1a | 3 | 2 |  | [150.1.2.3.0, 150r] | [wye, wye] | [4.16, 4.16] | [5000.0, 5000.0] | [1.0, 1.0375] | [5e-06, 5e-06] |  |  |  | 763.3237 | 1040.8959 | 5500 | 7500 | [9 empty] | 4.9033e-08 | 0.001 | [5 empty] | 1e-05 |  | [0.001]
xfm1 | 3 | 2 |  | [61s, 610.1.2.3.0] | [delta, delta] | [4.16, 0.48] | [150.0, 150.0] | [1.0, 1.0] | [0.635, 0.635] |  |  |  | 22.8997 | 31.2269 | 165 | 225 | [9 empty] | 0.0082906 | 2.72 | [5 empty] | 1.27 |  | [2.72]
reg2a | 1 | 2 |  | [9.1, 9r.1] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.0] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]
reg3a | 1 | 2 |  | [25.1, 25r.1] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.0125] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]
reg4a | 1 | 2 |  | [160.1, 160r.1] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.0625] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]
reg3c | 1 | 2 |  | [25.3, 25r.3] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.0] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]
reg4b | 1 | 2 |  | [160.2, 160r.2] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.025] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]
reg4c | 1 | 2 |  | [160.3, 160r.3] | [wye, wye] | [2.402, 2.402] | [2000.0, 2000.0] | [1.0, 1.0375] | [5e-06, 5e-06] |  |  |  | 915.9034 | 1248.9592 | 2200 | 3000 | [9 empty] | 1.226e-07 | 0.01 | [5 empty] | 1e-05 |  | [0.01]

## RegControl
Id_RegControl | transformer | winding | vreg | band | ptratio | CTprim | R | X | bus | delay | reversible | revvreg | revband | revR | revX | tapdelay | debugtrace | maxtapchange | inversetime | tapwinding | vlimit | PTphase | revThreshold | revDelay | revNeutral | EventLog | RemotePTRatio | TapNum | Reset | LDC_Z | rev_Z | Cogen | basefreq | enabled | like
creg1a | reg1a | 2 | 120 | 2 | 20 | 700 | 3 | 7.5 | [11 empty] | 2 | [6 empty] | 20 | 6
creg2a | reg2a | 2 | 120 | 2 | 20 | 50 | 0.4 | 0.4 | [11 empty] | 2 | [6 empty] | 20
creg3a | reg3a | 2 | 120 | 1 | 20 | 50 | 0.4 | 0.4 | [11 empty] | 2 | [6 empty] | 20 | 2
creg3c | reg3c | 2 | 120 | 1 | 20 | 50 | 0.4 | 0.4 | [11 empty] | 2 | [6 empty] | 20
creg4a | reg4a | 2 | 124 | 2 | 20 | 300 | 0.6 | 1.3 | [11 empty] | 2 | [6 empty] | 20 | 10
creg4b | reg4b | 2 | 124 | 2 | 20 | 300 | 1.4 | 2.6 | [11 empty] | 2 | [6 empty] | 20 | 4
creg4c | reg4c | 2 | 124 | 2 | 20 | 300 | 0.2 | 1.4 | [11 empty] | 2 | [6 empty] | 20 | 6

## Capacitor
Id_Capacitor | bus1 | bus2 | phases | kvar | kv | conn | cmatrix | cuf | R | XL | Harm | Numsteps | states | normamps | emergamps | faultrate | pctperm | repair | basefreq | enabled | like
c83 | 83.1.2.3.0 | 83.0.0.0 | 3 | [600.0] | 4.16 | wye | [0 ¦1.87639338887875E-310 2.25607960651843E-308 ¦1.37463500341945E-305 0 1.3746233119172E-305] | [91.9673] | [5 empty] | 112.4168 | 149.889
c88a | 88.1 | 88.0.0.0 | 1 | [50.0] | 2.402 | wye |  | [22.9876] | [5 empty] | 28.1016 | 37.4688
c90b | 90.2 | 90.0.0.0 | 1 | [50.0] | 2.402 | wye |  | [22.9876] | [5 empty] | 28.1016 | 37.4688
c92c | 92.3 | 92.0.0.0 | 1 | [50.0] | 2.402 | wye |  | [22.9876] | [5 empty] | 28.1016 | 37.4688

## Buscoords
Bus name | Y | X | Long | Lat
150 | 1500 | 100 | 0 | 0
150r | 1500 | 100 | 0 | 0
149 | 1500 | 300 | 0 | 0
1 | 1500 | 700 | 0 | 0
2 | 1675 | 700 | 0 | 0
3 | 1250 | 700 | 0 | 0
7 | 1500 | 1000 | 0 | 0
4 | 1050 | 700 | 0 | 0
5 | 1250 | 1025 | 0 | 0
6 | 1150 | 1275 | 0 | 0
8 | 1500 | 1200 | 0 | 0
12 | 1275 | 1200 | 0 | 0
9 | 1725 | 1200 | 0 | 0
13 | 1500 | 1500 | 0 | 0
9r | 1725 | 1200 | 0 | 0
14 | 2150 | 1200 | 0 | 0
34 | 1350 | 1500 | 0 | 0
18 | 2325 | 1500 | 0 | 0
11 | 2150 | 950 | 0 | 0
10 | 2150 | 1450 | 0 | 0
15 | 1250 | 1500 | 0 | 0
16 | 875 | 1500 | 0 | 0
17 | 1250 | 1850 | 0 | 0
19 | 2325 | 1250 | 0 | 0
21 | 2625 | 1500 | 0 | 0
20 | 2325 | 925 | 0 | 0
22 | 2625 | 975 | 0 | 0
23 | 2875 | 1500 | 0 | 0
24 | 2875 | 950 | 0 | 0
25 | 3150 | 1500 | 0 | 0
25r | 3150 | 1500 | 0 | 0
26 | 3150 | 1150 | 0 | 0
28 | 3350 | 1500 | 0 | 0
27 | 3150 | 875 | 0 | 0
31 | 3375 | 1150 | 0 | 0
33 | 3650 | 875 | 0 | 0
29 | 3650 | 1500 | 0 | 0
30 | 3650 | 1850 | 0 | 0
250 | 3650 | 2050 | 0 | 0
32 | 3675 | 1150 | 0 | 0
35 | 2325 | 1975 | 0 | 0
36 | 2000 | 2075 | 0 | 0
40 | 2575 | 1975 | 0 | 0
37 | 2000 | 1775 | 0 | 0
38 | 2000 | 2325 | 0 | 0
39 | 2000 | 2650 | 0 | 0
41 | 2575 | 2300 | 0 | 0
42 | 2825 | 1975 | 0 | 0
43 | 2825 | 2475 | 0 | 0
44 | 3025 | 1975 | 0 | 0
45 | 3025 | 2175 | 0 | 0
47 | 3275 | 1975 | 0 | 0
46 | 3025 | 2475 | 0 | 0
48 | 3275 | 1825 | 0 | 0
49 | 3275 | 2225 | 0 | 0
50 | 3275 | 2475 | 0 | 0
51 | 3275 | 2725 | 0 | 0
151 | 3928 | 3187 | 0 | 0
52 | 1500 | 2000 | 0 | 0
53 | 1500 | 2200 | 0 | 0
54 | 1500 | 2325 | 0 | 0
55 | 1500 | 2600 | 0 | 0
57 | 1850 | 2325 | 0 | 0
56 | 1500 | 2875 | 0 | 0
58 | 1850 | 2075 | 0 | 0
60 | 1850 | 3075 | 0 | 0
59 | 1850 | 1825 | 0 | 0
61 | 1300 | 3075 | 0 | 0
62 | 2100 | 3075 | 0 | 0
63 | 2275 | 3075 | 0 | 0
64 | 2625 | 3075 | 0 | 0
65 | 2625 | 2650 | 0 | 0
66 | 2300 | 2650 | 0 | 0
67 | 1850 | 3525 | 0 | 0
68 | 1850 | 3725 | 0 | 0
72 | 1575 | 3525 | 0 | 0
97 | 2100 | 3525 | 0 | 0
69 | 1850 | 4000 | 0 | 0
70 | 1850 | 4325 | 0 | 0
71 | 1850 | 4600 | 0 | 0
73 | 1575 | 3800 | 0 | 0
76 | 1375 | 3525 | 0 | 0
74 | 1575 | 4150 | 0 | 0
75 | 1575 | 4550 | 0 | 0
77 | 1375 | 3925 | 0 | 0
86 | 725 | 3255 | 0 | 0
78 | 1375 | 4025 | 0 | 0
79 | 1375 | 4250 | 0 | 0
80 | 900 | 4025 | 0 | 0
81 | 425 | 4025 | 0 | 0
82 | 175 | 4025 | 0 | 0
84 | 425 | 4700 | 0 | 0
83 | 175 | 4275 | 0 | 0
85 | 900 | 4700 | 0 | 0
87 | 1125 | 3050 | 0 | 0
88 | 1300 | 2950 | 0 | 0
89 | 1125 | 2775 | 0 | 0
90 | 900 | 2775 | 0 | 0
91 | 1125 | 2550 | 0 | 0
92 | 825 | 2550 | 0 | 0
93 | 1125 | 2325 | 0 | 0
94 | 850 | 2325 | 0 | 0
95 | 1125 | 2025 | 0 | 0
96 | 925 | 2025 | 0 | 0
98 | 2100 | 3800 | 0 | 0
99 | 2100 | 4350 | 0 | 0
100 | 2100 | 4650 | 0 | 0
450 | 2100 | 5450 | 0 | 0
197 | 2200 | 3525 | 0 | 0
101 | 2450 | 3525 | 0 | 0
102 | 2450 | 3750 | 0 | 0
105 | 2725 | 3525 | 0 | 0
103 | 2450 | 4075 | 0 | 0
104 | 2450 | 4775 | 0 | 0
106 | 2725 | 3750 | 0 | 0
108 | 3050 | 3525 | 0 | 0
107 | 2725 | 4325 | 0 | 0
109 | 3050 | 3975 | 0 | 0
300 | 4010 | 3245 | 0 | 0
110 | 3050 | 4275 | 0 | 0
111 | 3625 | 4275 | 0 | 0
112 | 2925 | 4275 | 0 | 0
113 | 2925 | 4800 | 0 | 0
114 | 2925 | 5125 | 0 | 0
135 | 2325 | 1600 | 0 | 0
152 | 1500 | 1600 | 0 | 0
160r | 1850 | 3175 | 0 | 0
160 | 1850 | 3175 | 0 | 0
61s | 1300 | 3175 | 0 | 0
300_open | 0 | 0 | 0 | 0
94_open | 0 | 0 | 0 | 0
610 | 1300 | 3275 | 0 | 0